## Centralizator
NR. CRT | TIP LUCRARE | PRET TOTAL (EUR FARA TVA)
1 | INSTALATII ELECTRICE | 0
2 | AUTOMATIZARE (HARDWARE) | 0
| TOTAL | 0

## Instalatii electrice
1 | LISTA CANTITATI DE LUCRARI INSTALATII ELECTRICE
Nr. Crt. | Descriere |  | Cant. | UM | Procurare | Montare | PRET UNITAR | PRET TOTAL
[5 empty] | (EUR / UM) | (EUR / UM) | (EUR FARA TVA) | (EUR FARA TVA)
A | Paturi de cabluri | [6 empty] | 0
| Pat cablu VKLG 110/600mm latime |  | 15 | ml |  |  | 0 | 0
| Pat cablu VKLG 110/400mm latime |  | 84 | ml |  |  | 0 | 0
| Pat cablu VKLG 110/300mm latime |  | 102 | ml |  |  | 0 | 0
| Pat cablu VKLG 110/200mm latime |  | 60 | ml |  |  | 0 | 0
| Pat cablu tip sarma 110/600 |  | 141 | ml |  |  | 0 | 0
| Pat cablu tip sarma 110/400 |  | 165 | ml |  |  | 0 | 0
| Pat cablu tip sarma 110/300 |  | 102 | ml |  |  | 0 | 0
| Pat cablu tip sarma 110/200 |  | 270 | ml |  |  | 0 | 0
| Pat cablu tip sarma 50/50 |  | 630 | ml |  |  | 0 | 0
| Console cu flansa 600 |  | 140 | buc |  |  | 0 | 0
| Console cu flansa 400 |  | 120 | buc |  |  | 0 | 0
| Console cu flansa 300 |  | 40 | buc |  |  | 0 | 0
| Console cu flansa 200 |  | 200 | buc |  |  | 0 | 0
| Console cu flansa 100 |  | 600 | buc |  |  | 0 | 0
| Profil US7 |  | 210 | ml |  |  | 0 | 0
| Profil US3 |  | 340 | ml |  |  | 0 | 0
| Talpa montaj pentru US7 |  | 60 | buc |  |  | 0 | 0
| Accesorii de prindere si montaj |  | 1000 | kg |  |  | 0 | 0
B | Instalatie de paratraznet | [6 empty] | 0
| Captator paratrasnet tip Prevectron 3TS.25 (demontare si montare) |  | 1 | buc |  |  | 0 | 0
| Tija paratrasnet, inaltime H=6m pentru fixare captator (demontare si montare) |  | 1 | buc |  |  | 0 | 0
| Consola/suport fixare tija paratrasnet (demontare si montare) |  | 3 | buc |  |  | 0 | 0
| Procurare si montare Clema fixare conductor rotund 70mmp |  | 480 | buc |  |  | 0 | 0
| Procurare si montare Conductor rotund, otel zincat, sectiune 70mmp |  | 240 | ml |  |  | 0 | 0
C | Instalatii de legare la pamant | [6 empty] | 0
| Electrozi verticali L=2,5ml |  | 10 | buc |  |  | 0 | 0
| Platbanda 40x4 montaj ingropat in pamant |  | 50 | ml |  |  | 0 | 0
| Platbanda 40x4 montaj in fundatii |  | 350 | ml |  |  | 0 | 0
| Platbanda 40x4 montaj aparent pe fundatii, pereti, paturi de cabluri |  | 400 | ml |  |  | 0 | 0
| Piese de separatie si masura |  | 36 | buc |  |  | 0 | 0
| Accesori montaj SPZ |  | 800 | buc |  |  | 0 | 0
| PRAM priza de pamant |  | 36 | buc |  |  | 0 | 0
D | Instalatii de impamantare echipamente | [6 empty] | 0
| Cordoane din VPLY V-G, L=3ml si papuci Cu | [5 empty] | 0 | 0
| Sectiune 95mmp |  | 4 | buc |  |  | 0 | 0
| Sectiune 50mmp |  | 8 | buc |  |  | 0 | 0
| Sectiune 25mmp |  | 10 | buc |  |  | 0 | 0
| Sectiune 16mmp |  | 60 | buc |  |  | 0 | 0
E | Cabluri electrice de forta | [6 empty] | 0
| NYCY-J | 3x120+70 | 90 | ml |  |  | 0 | 0
| NYCY-J | 3x95+50 | 120 | ml |  |  | 0 | 0
| NYCY-J | 3x50+25 | 310 | ml |  |  | 0 | 0
| NYCY-J | 3x35+25 | 80 | ml |  |  | 0 | 0
| NYCY-J | 3x25+16 | 1830 | ml |  |  | 0 | 0
| NYCY-J | 4x16 | 760 | ml |  |  | 0 | 0
| NYCY-J | 4x2.5 | 3750 | ml |  |  | 0 | 0
| NYCY-J | 3x1.5 | 650 | ml |  |  | 0 | 0
F | Capete terminale cabluri ( inclusiv papuci Cu) | [6 empty] | 0
| NYCY-J | 3x120+70 | 4 | buc |  |  | 0 | 0
| NYCY-J | 3x95+50 | 4 | buc |  |  | 0 | 0
| NYCY-J | 3x50+25 | 12 | buc |  |  | 0 | 0
| NYCY-J | 3x35+25 | 4 | buc |  |  | 0 | 0
| NYCY-J | 3x25+16 | 20 | buc |  |  | 0 | 0
| NYCY-J | 4x16 | 44 | buc |  |  | 0 | 0
| NYCY-J | 4x2.5 | 90 | buc |  |  | 0 | 0
| NYCY-J | 3x1,5 | 12 | buc |  |  | 0 | 0
| Etichete cabluri |  | 300 | buc |  |  | 0 | 0
| PRAM cabluri |  | 150 | buc |  |  | 0 | 0
G | Cabluri electrice de comanda si instrumentatie | [6 empty] | 0
| YSLCY-OZ (cu protectie UV) | 24x0.75 | 900 | ml |  |  | 0 | 0
| YSLCY-OZ (cu protectie UV) | 18x0.75 | 540 | ml |  |  | 0 | 0
| YSLCY-OZ (cu protectie UV) | 14x0.75 | 2900 | ml |  |  | 0 | 0
| YSLCY-OZ (cu protectie UV) | 7x0.75 | 3400 | ml |  |  | 0 | 0
| YSLCY-OZ (cu protectie UV) | 3x0.75 | 2100 | ml |  |  | 0 | 0
| Cablu Profibus DP (cu protectie UV) | 1x2x0.64 | 275 | ml |  |  | 0 | 0
| UTP | 8x0.25 | 300 | ml |  |  | 0 | Proiect AGI Temp SILO
| Cablu de compensare tip "T" (Cu-CuNi) (cu protectie UV) | 12x2x0.22 | 310 | ml |  |  | 0 | 0
| Fibra Optica Multi-Mode 6 fibre 62.5/125 OM1 | 62,5/125 OM1 | 500 | ml |  |  | 0 | 0
| Cablu Profinet Siemens 6XV1840-2AH10 | 2x2x0.64 | 100 | ml |  |  | 0 | 0
| Conectori M12 E11657 IFM |  | 10 | buc |  |  | 0 | 0
H | Capete terminale cabluri ( inclusiv etichete si pini) | [6 empty] | 0
| YSLCY-OZ | 24x0.75 | 22 | buc |  |  | 0 | 0
| YSLCY-OZ | 18x0.75 | 10 | buc |  |  | 0 | 0
| YSLCY-OZ | 14x0.75 | 62 | buc |  |  | 0 | 0
| YSLCY-OZ | 7x0.75 | 82 | buc |  |  | 0 | 0
| YSLCY-OZ | 3x0.75 | 266 | buc |  |  | 0 | 0
| Profibus DP | 1x2x0.64 | 10 | buc |  |  | 0 | 0
| UTP | 8x0.25 | 60 | buc |  |  | 0 | 0
| Cablu de compensare tip "T" (Cu-CuNi) | 4x2x0.22 | 6 | buc |  |  | 0 | 0
| Fibra Optica Multi-Mode 6 fibre 62.5/125 OM1 | 62,5/125 OM1 | 6 | buc |  |  | 0 | 0
| Cablu Profinet Siemens 6XV1840-2AH10 | 2x2x0.64 | 10 | buc |  |  | 0 | 0
| PRAM cabluri |  | 277 | buc |  |  | 0 | 0
| Etichete cabluri |  | 534 | buc |  |  | 0 | 0
I | Montaj tablouri locale, cutii comanda locala, cutii de conexiuni | [6 empty] | 0
| CCL 2,5Kw | Confm. Spec. | 5 | buc |  |  | 0 | 0
| CCL 18.5Kw | Confm. Spec. | 6 | buc |  |  | 0 | 0
| CCL 37Kw | Confm. Spec. | 11 | buc |  |  | 0 | 0
| CCL 55Kw | Confm. Spec. | 3 | buc |  |  | 0 | 0
| CCL 75Kw | Confm. Spec. | 1 | buc |  |  | 0 | 0
| CCL 90Kw | Confm. Spec. | 1 | buc |  |  | 0 | 0
| CCL 110Kw | Confm. Spec. | 1 | buc |  |  | 0 | 0
| CCL 160Kw | Confm. Spec. | 1 | buc |  |  | 0 | 0
| CCL 30Kw ATEX zone 22 | Confm. Spec. | 3 | buc |  |  | 0 | 0
| CCL 37Kw ATEX zone 22 | Confm. Spec. | 1 | buc |  |  | 0 | 0
| CCL Ment. | Confm. Spec. | 3 | buc |  |  | 0 | 0
| CCL VA | Confm. Spec. | 3 | buc |  |  | 0 | 0
| CCL SG | Confm. Spec. | 2 | buc |  |  | 0 | 0
| CCL SG ATEX zona 22 | Confm. Spec. | 5 | buc |  |  | 0 | 0
| JB LH | Confm. Spec. | 5 | buc |  |  | 0 | 0
| JB CC | Confm. Spec. | 5 | buc |  |  | 0 | 0
| JB S BC ATEX zona 22 | Confm. Spec. | 2 | buc |  |  | 0 | 0
| JB CC ATEX zona 22 | Confm. Spec. | 4 | buc |  |  | 0 | 0
| JB SG | Confm. Spec. | 2 | buc |  |  | 0 | 0
| JB VA | Confm. Spec. | 3 | buc |  |  | 0 | 0
| JB UP | Confm. Spec. | 3 | buc |  |  | 0 | 0
| JB DW | Confm. Spec. | 2 | buc |  |  | 0 | 0
| JB DW ATEX zona 22 | Confm. Spec. | 1 | buc |  |  | 0 | 0
| JB SG ATEX zona 22 | Confm. Spec. | 5 | buc |  |  | 0 | 0
| JB "T" ATEX zona 22 | Confm. Spec. | 3 | buc |  |  | 0 | 0
| Hupa IP65 | Confm. Spec. | 2 | buc |  |  | 0 | 0
| Hupa ATEX Zona 22 | Confm. Spec. | 4 | buc |  |  | 0 | 0
| Tablouri mentenanta usa siloz | Confm. Spec. | 5 | buc |  |  | 0 | 0
| Cutie conexiuni temperaturi silozuri | Beneficiar | 2 | buc |  |  | 0 | 0
| Cutie conexiuni comunicatie temperaturi silozuri | Beneficiar | 1 | buc |  |  | 0 | 0
| Periferice monitorizare temperaturi silozuri (calcultor, tastatura etc) | Beneficiar | 1 | set | Sarcina Beneficiar
J | Relocare echipamente BC6 | [6 empty] | 0
| Demontari cabluri |  | 30 | ml |  |  | 0 | 0
| Demontari paturi de cabluri |  | 10 | ml |  |  | 0 | 0
| Demontari JB |  | 2 | buc |  |  | 0 | 0
| Demontari CCL |  | 1 | buc |  |  | 0 | 0
K | Instalatii de iluminat | [6 empty] | 0
| Corpuri de iluminat cu led, 230Vca, Atex II 3D Ex tc IIIC T85ºC Dc zone 22, 4000lm |  | 21 | buc |  |  | 0 | 0
| Corpuri de iluminat cu led, 230Vca , cu acumulator 1.5h, Atex II 3D Ex tc IIIC T85ºC Dc zone 22, 4000lm |  | 10 | buc |  |  | 0 | 0
| Corp de iluminat de evacuare, de siguranta cu led, 230Vca, cu acumulator 1.5h, Atex II 3D Ex tc IIIC T85ºC Dc zone 22 ,100lm |  | 18 | buc |  |  | 0 | 0
| Corpuri de iluminat cu led, 230Vca, IP65, 2100lm |  | 71 | buc |  |  | 0 | 0
| Corpuri de iluminat cu led, 230Vca, IP65, cu acumulator 1.5h, 2100lm |  | 88 | buc |  |  | 0 | 0
| Corpuri de iluminat cu led, 230Vca, IP65, cu acumulator 1.5h, 4000lm |  | 4 |  |  |  | 0 | 0
| Corp de iluminat de evacuare, de siguranta cu led, 230Vca, cu acumulator 1.5h, 100lm |  | 3 | buc |  |  | 0 | 0
| Proiector cu led de exterior IP65,50W |  | 2 | buc |  |  | 0 | 0
| Doze Atex II 3D Ex tc IIIC T85ºC Dc zone 22, cu presetupe M20 (5buc) echipate cu 10 cleme |  | 20 | buc |  |  | 0 | 0
| Doze conexiuni IP65, cu 3 presetupe PG16, 10 cleme |  | 160 | buc |  |  | 0 | 0
| Cutie comanda iluminat cu comutator cu revenire, IP65 |  | 15 | buc |  |  | 0 | 0
| Prize PT, 230Vca, 16A, IP54 |  | 4 | buc |  |  | 0 | 0
| Intrerupator PT, 230Vca, 10A, IP54 |  | 4 | buc |  |  | 0 | 0
| CYABY-F | 5x2.5 | 2070 | ml |  |  | 0 | 0
| CYABY-F | 5x1.5 | 960 | ml |  |  | 0 | 0
| CYABY-F | 3x2.5 | 1210 | ml |  |  | 0 | 0
| CYABY-F | 3x1.5 | 1440 | ml |  |  | 0 | 0
| Pat cablu tip sarma 50/50 |  | 700 | ml |  |  | 0 | 0
| Console cu talpa, L=100mm |  | 500 | buc |  |  | 0 | 0
| Carje din teava Ol-Zn 2", L=3ml |  | 159 | buc |  |  | 0 | 0
| Capete terminale |  | 650 | buc |  |  | 0 | 0
| Etichete cabluri |  | 570 | buc |  |  | 0 | 0
| PRAM cabluri |  | 300 | buc |  |  | 0 | 0
L | INSTALATIE DE BALIZAJ BE62 si BE63/64 | [6 empty] | 0
| Corp iluminat de balizaj |  | 8 | buc |  |  | 0 | 0
| NYCY-J 3x2.5 |  | 260 | ml |  |  | 0 | 0
| Doze conexiuni IP65, cu 5 presetupe PG16, 10 cleme |  | 130 | buc |  |  | 0 | 0
| Pat sarma 55/50 (si accesorii de montaj) |  | 9 | ml |  |  | 0 | 0
| Console 100 |  | 20 | buc |  |  | 0 | 0
| Verificare instalatie balizaj |  | 1 | ans |  |  | 0 | 0
M | INSTALATIE MEDIE TENSIUNE - PT3 | [6 empty] | 0
| Ansamblu de celule, de interior, sistem trifazat de bare 630 A (soisre, masura, 2 x trafo) |  | 1 | set |  |  | 0 | 0
| Transformator de putere uscat 20/6/0,4 kV - 2.000 kVA |  | 1 | buc |  |  | 0 | 0
| Cap terminal pentru interior pentru cabluri monopolare 20 kV |  | 4 | set |  |  | 0 | 0
| NA2XSY 1x185/25mmp - 20 kV |  | 750 | ml |  |  | 0 | 0
| NA2XSY 1x150/25mmp - 20 kV |  | 30 |  |  |  | 0 | 0
| Etichete cabluri |  | 6 | buc |  |  | 0 | 0
| PRAM cabluri |  | 1 | buc |  |  | 0 | 0
| Pat cablu sarma 110/200mm latime cu capac, insotit de platbanda de 25x4 (inclusiv accesorii de prindere) |  | 250 | ml |  |  | 0 | 0
| Console cu flansa 200 |  | 100 | buc |  |  | 0 | 0
| Profil US3 |  | 250 | ml |  |  | 0 | 0
| Profil US7 |  | 50 | ml |  |  | 0 | 0
| Accesorii de prindere si montaj | [6 empty] | incluse in pret echipamente
N | INSTALATIE JOASA TENSIUNE - PT3 | [6 empty] | 0
| TGD PT3 |  | 1 | buc |  |  | 0 | 0
| Sistem bara capsulata 3200A (6ml) |  | 1 | set |  |  | 0 | 0
| Cabluri TGD - MCC60.1,2 CYY 1x240mmp |  | 180 | ml |  |  | 0 | 0
| Capete terminale inclusiv papuci |  | 72 | buc |  |  | 0 | 0
| TLP si Auxiliare |  | 1 | buc |  |  | 0 | 0
| TSI |  | 1 | buc |  |  | 0 | 0
[5 empty] | PRET TOTAL INSTALATII ELECTRICE |  |  | 0

## Automatizare (hardware)
2 | LISTA CANTITATI DE LUCRARI AUTOMATIZARE (HARDWARE)
Nr. Crt. | Descriere | Cant. | UM | Procurare | Montare | PRET UNITAR | PRET TOTAL
|  |  |  | (EUR / UM) | (EUR / UM) | (EUR FARA TVA) | (EUR FARA TVA)
A | TABLOURI MCC- PT3 | [5 empty] | 0
| Tablou MCC60.1 | 1 | set |  |  | 0 | 0
| Tablou MCC60.2 | 1 | set |  |  | 0 | 0
|  |  |  | PRET TOTAL AUTOMATIZARE HARWARE |  |  | 0